## Sche 3B.1 - EL
Schedule 3B - E&M Works 3B.1 Electrical Works
14樓室內改造工程
Item | Code |  | Qty | Unit | Unit Price | Amount (HK$)
Electrical works
1 |  | Provide labour and material to dismantle and cartaway: All existing electrical installation including but not limited to cables, conduits, trunkings, distribution boards, outlet port, etc. to suit for new renovation Including all construction waste disposal charging from Hong Kong Government |  | lot
Main Power Distribution
2 |  | Supply and install power point including switched outlets, cables, wiring accessories, all necessary metal boxes surface mounted cover plate and/or concealed G.I. conduit, flexible conduit, circuit protective conductor and mounting accessories
a |  | 13A single socket |  | no(s).
b |  | 13A twins socket |  | no(s).
c |  | 13A twins socket with 2 no. USB charge |  | no(s).
d |  | 13A fuse spur unit |  | no(s).
e |  | 20A connection unit |  | no(s).
f |  | 32A connection unit |  | no(s).
3 |  | Supply and install supplementary bonding cable to the extraneous conductive parts with plastic warning label |  | lot
4 |  | Supply and install ELV trunking complete with trunking fittings removable covers, reducers, tees, mounting support and accessories
a |  | ____________ mm x ___________ mm |  | lm
5 |  | Supply and install conduit point connected trunking including all necessary metal boxes surface mounted cover plate and/or concealed G.I. conduit, flexible conduit, circuit protective conductor and mounting accessories, computer outlet box, draw wires and blank plate
a |  | computer (Data and Wifi) point |  | no(s).
b |  | telephone point |  | no(s).
c |  | security point |  | no(s).
d |  | AV point |  | no(s).
Lighting Fitting
6 |  | Sypply and install 1200mm light tube to replace the existing luminaires |  | no(s).
7 |  | Take down and relocation existing light fitting to suit the new false ceiling |  | job
8 |  | Supply and install lighting point including lighting switches, cables, wiring accessories, all necessary metal boxes surface mounted cover plate and/or concealed G.I. conduit, flexible conduit, circuit protective conductor and mounting accessories |  | no(s).
To Collection (HK$)
Sundries
9 |  | Provision of sample submission, shop drawing, as-fitted drawings, operation instruction and maintenance manuals |  | sum
10 |  | Training and instructing the employer's staff in the operating, maintenance, preventive maintenance and services of the electrical services installation for period of twelve (12) months from the date of certification of completion |  | sum
11 |  | Painting and labelling for all pipes, control panels, switch board and other instructed by Project Manager |  | sum
12 |  | Testing and commissioning for whole electrical services installation |  | sum
13 |  | Issue WR1 |  | sum
14 |  | Those items (if any) not mentioned above but necessary for completion the whole system properly under the intent of the Works (Please specified).
Remark: Tenderer/ Contractor should check and include hereunder any other outstanding items and works in accordance with the drawings, specifications, site visit, etc. for complete tender. NO CLAIMS relating to the works will be allowed afterward
To Collection (HK$)
Collection Page
From page SR / 3B.1 / 1
From page SR / 3B.1 / 2
To be carried to Summary of Tender
Sub-total of Schedule 3B.1 (HK$)

## Sche 3B.2 - MVAC
Schedule 3B - E&M Works 3B.2 MVAC Works
14樓室內改造工程
Item | Code | Description 內容 | Qty | Unit | Unit Price | Amount (HK$)
MVAC Works
1 |  | Provide labour and material to dismantle and cartaway: All existing unuse MVAC installation including but not limited to FCUs, pipes, air ducts, air grilles, cables, conduits, etc. to suit for new renovation Including all construction waste disposal charging from Hong Kong Government |  | lot
2 |  | Supply and install new air duct with 25mmthk fibre glass insulation. |  | m²
3 |  | Supply and install new return air plenum. |  | m²
4 |  | Supply and install new supply air square diffuser (size: 600mm x 600mm). |  | no(s).
5 |  | Supply and install new hinged type return air diffuser c/w aluminium filter
a |  | Size : 600mm x 600mm |  | no(s).
6 |  | Supply and install new fresh air duct with 25mmthk fibre glass insulation. |  | m²
7 |  | Relocate existing FCU with supporting frame and all necessary accessories work to suit the renovation. |  | no(s).
8 |  | Supply and install V.C.D. with frame all necessary accessories. |  | no(s).
9 |  | Supply and install black steel (medium class) chiller water pipe with phenolic foam isolation (comply with BEC requirement), supporting frame and all necessary accessories.
a |  | Dia 32mm |  | m
b |  | Dia 25mm |  | m
10 |  | Supply and install G.I. drain pipe with supporting frame and all necessary accessories. |  | m
11 |  | Relocate fan coil thermostats and reconnection of temperature sensor (brand: Johnson Control or equivalent). |  | no(s).
12 |  | Supply and install new conduit and wiring cable for fan coil unit. |  | m
13 |  | Supply and install air boot with 150mmDia flexible 25mmthk fibreglass insulation work with supporting frame and all necessary accessories. |  | no(s).
Sundries
14 |  | Provision of sample submission, shop drawing, as-fitted drawings, operation instruction and maintenance manuals |  | sum
15 |  | Training and instructing the employer's staff in the operating, maintenance, preventive maintenance and services of the MVAC services installation for period of twelve (12) months from the date of certification of completion |  | sum
16 |  | Testing and commissioning for whole MVAC services installation |  | sum
17 |  | Chilled water pipe pressure test, flushing test and water sampling |  | sum
18 |  | Those items (if any) not mentioned above but necessary for completion the whole system properly under the intent of the Works (Please specified).
To be carried to Summary of Tender
Sub-total of Schedule 3B.2 (HK$)

## Sche 3B.3 - FS
Schedule 3B - E&M Works 3B.3 Fire Services
14樓室內改造工程
Item | Code | Description 內容 | Qty | Unit | Unit Price | Amount (HK$)
Fire Services
1 |  | Provide labour and material to relocate existing sprinkler head c/w assoicated drop pipe works to suit for new renovation. |  | no(s).
2 |  | Modification of sprinkler head & G. I. pipe under A/C or others. |  | no(s).
3 |  | Provide labour to drain and refill of sprinkler system. |  | job
4 |  | Provide labour to isolate and resume of MFA and AFA panel. |  | job
Sundries
5 |  | Provision of sample submission, shop drawing, as-fitted drawings, operation instruction and maintenance manuals |  | sum
6 |  | Training and instructing the employer's staff in the operating, maintenance, preventive maintenance and services of the fire services installation for period of twelve (12) months from the date of certification of completion |  | sum
7 |  | Painting and labelling for all pipes, control panels, switch board and other instructed by Project Manager |  | sum
8 |  | Testing and commissioning for whole fire services installation |  | sum
9 |  | Issue of Form 314A & F. S. drawing to HKFSD. |  | sum
10 |  | Issue FS251 Certificate to HKFSD. |  | sum
11 |  | Those items (if any) not mentioned above but necessary for completion the whole system properly under the intent of the Works (Please specified).
Remark: Tenderer/ Contractor should check and include hereunder any other outstanding items and works in accordance with the drawings, specifications, site visit, etc. for complete tender. NO CLAIMS relating to the works will be allowed afterward
To be carried to Summary of Tender
Sub-total of Schedule 3B.3 (HK$)

## Sche 4B.1 - Security
Schedule 4B - ELV System 4B.1 Security System
14樓室內改造工程
Item | Code | Description | Qty | Unit | Unit Price | Amount (HK$)
CCTV system
1 |  | Supply and install CCTV system (Sub-contractor list refer to Appendix 11) |  | sum
(Please submit the breakdown)
2 |  | _________ % managemant and coordination fee for item 1 |  | sum
Remark: Tenderer/ Contractor should check and include hereunder any other outstanding items and works in accordance with the drawings, specifications, site visit, etc. for complete tender. NO CLAIMS relating to the works will be allowed afterward
To be carried to Summary of Tender
Sub-total of Schedule 4B.1 (HK$)

## Sche 4B.2 - Cabling
Schedule 4B - ELV System 4B.2 IT Cabling
14樓室內改造工程
Item | Code | Description | Qty | Unit | Unit Price | Amount (HK$)
Horizontal Cabling
1 |  | Supply & Install CAT6 Horizontal Cabling System from Server Room to User Outlet Brand: Panduit - 4-pair Cat6 UTP cable - Cat6 RJ45 socket outlet, face plate and Jack - Termination, labeling, testing and commissioning are included - Data Patching is included - Voice Patching should be included by the PABX service provider - Fluke Testing Report |  | node(s)
2 |  | Patching and connection to existing IT Rack with all necessary patch cord and accessories |  | job
3 |  | Installation Service |  | job
4 |  | Fluke Testing Report and Cabling Node Plan |  | job
5 |  | Those items (if any) not mentioned above but necessary for completion the whole system properly under the intent of the Works (Please specified).
Remark: Tenderer/ Contractor should check and include hereunder any other outstanding items and works in accordance with the drawings, specifications, site visit, etc. for complete tender. NO CLAIMS relating to the works will be allowed afterward
To be carried to Summary of Tender
Sub-total of Schedule 4B.2 (HK$)

## Sche 4B.3 - AV
Schedule 4B - ELV System 4B.3 AV System
14樓室內改造工程
Item | Code | Description | Qty | Unit | Unit Price | Amount (HK$)
AV System
1 |  | Supply and install LED Wall 3600mm x2025mm |  | set
2 |  | Supply and install HDMI Extender |  | set
3 |  | Supply and install HDMI 8x8 Matrix |  | set
4 |  | LED Wall Installation and Setting Include Cable and Cabling, and Mount Kit |  | job
5 |  | Integration of new installation with existing AV system at 14/F |  | job
6 |  | Overall Project Management and Professional Services
a |  | System and Hardware set-up, configuration inclusive of all displays / mounting, repositioning and adjustment of all equipment based on the confirmed items of AV system |  | sum
b |  | Engineering & programming fee for the all System based onthe confirmed items of AV system inclusive of modifications & changes to handover |  | sum
c |  | Testing and Commissioning for complete AV System based on cthe confirmed items of AV system and pre-approved submission of Testing & Comissioning forms, procedures & test criteria |  | sum
d |  | Project Management Service to cover for the duration of the project including: - managing of the delivery & implementation of the project - Project status and site progress updates - managing of the project timeline against key milestones - attenance of progress meeting - coordination with project team, designer, & releated trades |  | sum
e |  | As-Built Documentation (in ACAD format) including all schematics, system programming, and layout plans. Full set document inclusive of O&M Manuals, User Guides, Product Catalogs) |  | sum
f |  | User Training for 2 sessions ncluding general User Training and Operational Training for support team |  | sum
7 |  | Those items (if any) not mentioned above but necessary for completion the whole system properly under the intent of the Works (Please specified).
Remark: Tenderer/ Contractor should check and include hereunder any other outstanding items and works in accordance with the drawings, specifications, site visit, etc. for complete tender. NO CLAIMS relating to the works will be allowed afterward
To be carried to Summary of Tender
Sub-total of Schedule 4B.3 (HK$)

## Sche 5B - Furniture
Schedule 5B - Furniture
14樓室內改造工程
Item | Code | Description | Qty | Unit | Unit Price | Amount (HK$)
Furniture
1 | L1 | Stackable Chair Material: Metal with powder coating Size: 515W x 580D x 790Hmm |  | no(s).
2 | L1 | Stackable Chair Trolley Description: Trolley size caters to a minimum of 10 chairs Size: - |  | no(s).
3 |  | Those items (if any) not mentioned above but necessary for completion the whole system properly under the intent of the Works (Please specified).
Remark: Tenderer/ Contractor should check and include hereunder any other outstanding items and works in accordance with the drawings, specifications, site visit, etc. for complete tender. NO CLAIMS relating to the works will be allowed afterward
To be carried to Summary of Tender
Sub-total of Schedule 5B (HK$)

## Sche 6B - Contingency
Schedule 6B - Contingencies
14樓室內改造工程
Item | Code | Description | Qty | Unit | Unit Price | Amount (HK$)
Contingencies
The following Provisional Sum to be expended in whole or in part as directed by the Project Manager / Architect or wholly deducted from the Tender Sum if not required
1 |  | Allow for the Provisional Sum of HK$ 50,000.00 | - | sum | - | 50000
To be carried to Summary of Tender
Sub-total of Schedule 6B (HK$)